## T-2133-07-05-01-02-002
Schedule (WBS No.T-2133-07-05-01-02-002)
Schedule for Interlinking of 11 KV Chintal Feeder and 11 KV DWARAKA NAGAR Feeder emanating from 33/11KV Chintal Sub - Station by stringing 0.5 KM 11 KV 3x185 +70 sqmm AB cable along with 9.1 Mtrs PSCC Poles in Operation Quthbullapur section of Quthbullapur sub-Division in Medchal Division in Medchal Circle under T&D Improvements works
Sl.No. |  | Particulars | Qty | Rate in Rs. | Per Unit | Amount in Rs.
1 | SWR11294 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location Erection of intermediate 9.1 M PSCC pole | 5 | 2535 | EA | 12675
2 | SMR11485 | Supply of earthing pipe with materials GI Flat 25X3 mm | 40 | 84 | KG | 3360
3 | SWR11037 | Excavation of pits in hard rock not requiring blasting. (In hard murram / rock boulders) 0.76 M x 0.76M x 1.52M(2.6" x 2.6" x 5.0') 0.88 cum | 5 | 522 | EA | 2610
4 | SWR10454 | Stringing of HT AB Cable with GI Metal Parts 11 KV 3x185+70 Sqmm | 0.5 | 35700 | KM | 17850
5 | SMR11504 | End Termination of AB cable (each lead) Supply of 11KV 3x185+70sq.mm/ 3x70+70sq.mm/3x35+35sq.mm AB cable end Kits | 4 | 950 | SET | 3800
6 | SWR10667 | End Termination of AB cable (each lead) 120 Sqmm to 185 Sqmm | 4 | 800 | EA | 3200
7 | SWR10673 | Straight through joints of AB cable (each lead) Supply and ere Angle line Asmbly kits | 2 | 2124 | EA | 4248
8 | SWR10356 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Including the cost of cement | 3.24 | 5160 | M3 | 16718.4
9 | SMR11487 | Supply of earthing pipe with materials Supply of MS bolts & nuts and washers etc of all sizes | 25 | 73 | KG | 1825
10 | SWR10393 | Erection of AB Switch and aligment complete Erection of 11kv ABSwitch incl earthing Erection of 11KV 400/200A Conventional type AB Switch including fixing of cross angles and alignment complete | 1 | 1598 | EA | 1598
11 | SMR40091 | Earthing of Sub-Station Supply of GI pipe 40 mm dia, 2 mtrs, 3mm thickness with bolts and nuts | 2 | 733 | EA | 1466
12 | SWR10357 | Providing of Earthing Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, earth , running of earth wire etc., complete, including cost of bentonite and excluding cost of RCC collar of size 0.6M dia x 0.5 M height . | 2 | 1100 | EA | 2200
13 | SWR10671 | T Branch Kit Erection of Assemble Kit for 'T' Branche | 1 | 1800 | EA | 1800
14 | SMR22234 | Supply of T-Branch kit | 1 | 8220 | EA | 8220
15 | SWR22092 | SS works survey line&cabl inc peg mark&tree clear | 0.5 | 500 | KM | 250
16 | SMR40132 | CT/ PT Sets Supply of 120 Sqmm Aluminium lugs | 6 | 12.52 | EA | 75.12
17 | SMR12099 | Supply and Erection of I Hook and Suspension Hook Supply of I hook | 20 | 158 | EA | 3160
18 | SWR12099 | Supply and Erection of I Hook and Suspension Hook Erection of I hook | 20 | 55 | EA | 1100
19 | SWR12413 | LOADING AND UN-LOADING of LINE MATERIALS 11 KV AB Cable (XLPE) 3 Core upto 500 Mts. Drum (including Accessories ) | 1 | 584 | DR | 584
20 | SWR12431 | LOADING AND UN-LOADING of LINE MATERIALS 11 KV AB Cable (XLPE) 3 Core upto 500 Mts. Drum (including Accessories ) | 1 | 438 | DR | 438
21 | SWR10238 | LOADING AND UN-LOADING of LINE MATERIALS 11KV AB Switch Conventional type | 1 | EA | 80 | 80
22 | SWR10556 | LOADING AND UN-LOADING of LINE MATERIALS 11KV AB Switch Conventional type | 1 | EA | 80 | 80
23 | SWR20308 | Sub-transport of poles upto Workspot upto 10KM (Including loading and unloading) 9.1 Mtrs long PSCC Poles | 5 | EA | 363 | 1815
24 | SWR10653 | Formation of Cut points Formation of Cut point for 11 KV Single Circuit line excluding pole erection and stays | 2 | EA | 1119 | 2238
25 | SWR10672 | Straight through joints of AB cable (each lead)Supply and ere Straight line Asmbly kits | 18 | EA | 1661 | 29898
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
|  | Schedule Cost. (Excluding GST) |  |  |  | 121288.52

## T-2133-07-05-01-02-001
Schedule (WBS No.T-2133-07-05-01-02-001)
An estimate proposal for Interlinking of 11 KV thumkunta feeder and 11 KV 11kv Nalsar Feeder emanating from 33/11KV Shameerpet Sub - Station by stringing 0.6 KM 11 kv 100sqmm AAA conductor OH Line with 9.1 Mtrs PSCC Poles in Operation Shameerpet section of Shameerpet sub-Division in Medchal Division in Medchal Circle under(2133) Improvements works.
Sl.No. |  | Particulars | Qty | Rate in Rs. | Per Unit | Amount in Rs.
1 | SWR10366 | Erection of AB Switch and aligment complete Erection of 11KV 400/200A Conventional type AB Switch including fixing of cross angles and alignment complete | 0.6 | KM | 13585 | 8151
2 | SWR10343 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavationERECTION OF LINES-Erection of 9.1M Pole 9.1 M long PSCC pole | 9 | EA | 1621 | 14589
3 | SWR10393 | Erection of 11kv ABSwitch incl earthing Erection of 11KV 400/200A Conventional type AB Switch including fixing of cross angles and alignment complete | 1 | EA | 1598 | 1598
4 | SWR11037 | Excavation of pits in hard rock not requiring blasting. (In hard murram / rock boulders) 0.76 M x 0.76M x 1.52M (2.6" x 2.6" x 5.0') 0.88 cum | 5 | EA | 522 | 2610
5 | SWR10105 | Excavation of pits in all soils except hard rock requiring blasting 0.76 M x 0.76M x 1.52M (2.6" x 2.6" x 5.0') 0.88 cum | 4 | EA | 364 | 1456
6 | SWR10356 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Cement and curing etc. Including the cost of cement | 4.32 | M3 | 5160 | 22291.2
7 | SWR11873 | Cutting charges for MS Sections MS Channel 75 x 40 mm | 10 | EA | 9 | 90
8 | SMR11485 | Supply of earthing pipe with materials Supply of GI Flat 25X3 mm | 25 | KG | 84 | 2100
9 | SMR11482 | Supply of earthing pipe with materials iii)Supply of CI earth pipe 100 mm dia, 2.75 mt long thickness 10mm with flange as per specication | 1 | EA | 3486 | 3486
10 | SWR10923 | Providing of earthing with various types of earth electrodes. Excavation of earth pit, putting cast iron pipe with flange on one end of nominal dia 100mm and 2.75 meters long in side the pit including supply and fixing RCC collars 0.75 meter dia (OD), 50mm thick and 0.60meters long in side the pit, backfill the pit | 1 | EA | 1930 | 1930
11 | SWR10881 | The requirement of 2nd coat is to be justified by the concerned Divisional Engineer Painting of operating rods of 33kV, 11kV AB switches with post office red colour (including cost of paint) | 1 | EA | 142 | 142
12 | SMR11487 | Supply of earthing pipe with materials Supply of MS bolts & nuts and washers etc of all sizes | 50 | KG | 73 | 3650
22
|  | Schedule Cost. (Excluding GST) |  |  |  | 62093.2
Divisional Electrical Engineer,
Construction, Medchal Circle.

## T-2133-07-05-01-02-003
Schedule (WBS No.T-2133-07-05-01-02-003)
An estimate proposal for Interlinking of 11 KV Saibaba Nagar feeder Emanating from 33/11kv Subash Nagar and 11 KV DWARAKA NAGAR Feeder emanating from 33/11KV Chintal Sub - Station by stringing 0.22KM 11 KV 3x185 +70 sqmm AB cable along with 9.1 Mtrs PSCC Poles in Operation Quthbullapur section of Quthbullapur sub-Division inMedchal Division inMedchal Circle under(2133) Improvements works.
Sl.No. |  | Particulars | Qty | Rate in Rs. | Per Unit | Amount in Rs.
1 | SMR11485 | Supply of earthing pipe with materials Supply of GI Flat 25X3 mm | 40 | KG | 84 | 3360
2 | SWR11037 | Excavation of pits in hard rock not requiring blasting. (In hard murram / rock boulders) 0.76 M x 0.76M x 1.52M (2.6" x 2.6" x 5.0') 0.88 cum | 5 | EA | 522 | 2610
3 | SWR10454 | Stringing of HT AB Cable with GI Metal Parts HT AB Cable 11 KV 3x185+70 Sqmm | 0.24 | KM | 35700 | 8568
4 | SMR11504 | End Termination of AB cable (each lead): Supply of 11KV 3x185+70sq.mm/ 3x70+70sq.mm/3x35+35sq.mm AB cable end Kits | 6 | SET | 950 | 5700
5 | SWR10667 | End Termination of AB cable (each lead): 120 Sqmm to 185 Sqmm | 6 | EA | 800 | 4800
6 | SWR10673 | Straight through joints of AB cable (each lead) Supply and ere Angle line Asmbly kits | 8 | EA | 2124 | 16992
7 | SWR10356 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Including the cost of cement | 2.7 | M3 | 5160 | 13932
8 | SMR11487 | Supply of earthing pipe with materials Supply of MS bolts & nuts and washers etc of all sizes | 30 | KG | 73 | 2190
9 | SWR10393 | Erection of AB Switch and aligment complete Erection of 11KV 400/200A Conventional type AB Switch including fixing of cross angles and alignment complete | 1 | EA | 1598 | 1598
10 | SMR40091 | Earthing of Sub-Station Supply of GI pipe 40 mm dia, 2 mtrs, 3mm thickness with bolts and nuts | 2 | EA | 733 | 1466
11 | SWR10357 | Providing of earthing with excavation of earth pit (0.6x0.6x2.4 Mts.) duly filling with bentonite, earth , running of earth wire etc., complete, including cost of bentonite and excluding cost of RCC collar of size 0.6M dia x 0.5 M height . | 2 | EA | 1100 | 2200
12 | SWR10671 | T Branch Kit Erection of Assemble Kit for 'T' Branche | 1 | EA | 1800 | 1800
13 | SMR22234 | Supply of T-Branch kit | 1 | EA | 8220 | 8220
14 | SWR22092 | Breaker survey line&cabl inc peg mark&tree clear | 0.22 | KM | 500 | 110
15 | SMR40132 | CT/ PT Sets Supply of 120 Sqmm Aluminium lugs | 6 | EA | 12.52 | 75.12
16 | SMR12099 | Supply and Erection of I Hook and Suspension Hook Supply of I hook | 11 | EA | 158 | 1738
17 | SWR12099 | Supply and Erection of I Hook and Suspension Hook Erection of I hook | 11 | EA | 55 | 605
18 | SWR12413 | LOADING AND UN-LOADING of LINE MATERIALS 11 KV AB Cable (XLPE) 3 Core upto 500 Mts. Drum (including Accessories ) | 0.5 | DR | 584 | 292
19 | SWR12431 | LOADING AND UN-LOADING of LINE MATERIALS 11 KV AB Cable (XLPE) 3 Core upto 500 Mts. Drum (including Accessories ) | 0.5 | DR | 438 | 219
20 | SWR10238 | LOADING AND UN-LOADING of LINE MATERIALS 11KV AB Switch Conventional type | 1 | EA | 80 | 80
21 | SWR10556 | LOADING AND UN-LOADING of LINE MATERIALS 11KV AB Switch Conventional type | 1 | EA | 80 | 80
22 | SWR20308 | Sub-transport of poles upto Workspot upto 10KM (Including loading and unloading) 9.1 Mtrs long PSCC Poles | 5 | EA | 363 | 1815
23 | SWR10672 | Straight through joints of AB cable (each lead) Supply and ere Straight line Asmbly kits | 3 | EA | 1661 | 4983
Schedule Cost. (Excluding GST) | [5 empty] | 83433.12
Divisional Electrical Engineer,
Construction, Medchal Circle.

## T-2133-07-05-01-02-004)
Schedule (WBS No.T-2133-07-05-01-02-004)
Schedule for Interlinking of 11 KV Ponnal feeder at pappu mill, ponnal road emanating from 33/11kv Bommarajpet SS to 11 KV Sneha farm Feeder near Sneha farm, Adhraspally on 33/11KV Uddamarri Sub- Station by stringing 0.8KM 11 KV 100sq mm AAA Conductor OH Line 9.1 Mtrs PSCC Poles in Operation Shameerpet section of Shameerpet sub-Division in medchal Division in Medchal Circle under( T- 2133) Improvements works.
Sl.No. |  | Particulars | Qty | Rate in Rs. | Per Unit | Amount in Rs.
1 | SWR10366 | Paving out and stringing of conductor by providing temporary stays, tensioning, sagging correctly, fixing strain points, transferring to pin points binding, keeping stifner, rectification of poles, guys and jumpering etc., including transport of material from road side to location.Stringing 100sqmm 33/11kv Line 3 Cond SC 100 Sqmm Single Circuit (3 Conductors) | 0.8 | KM | 13585 | 10868
2 | SWR10343 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation9.1 M long PSCC pole | 18 | EA | 1621 | 29178
3 | SWR10112 | Excavation of pits in hard rock requiring blasting. (other than SS) 0.76 M x 0.76M x 1.83M (2.6" x 2.6" x 6.0") | 18 | EA | 834 | 15012
4 | SWR10356 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Including the cost of cement | 0.546 | M3 | 5160 | 2817.36
5 | SMR11487 | Supply of earthing pipe with materials Supply of MS bolts & nuts and washers etc of all sizes | 23 | KG | 73 | 1679
6 | SWR10393 | Erection of AB Switch and aligment complete Erection of 11KV 400/200A Conventional type AB Switch including fixing of cross angles and alignment complete | 2 | EA | 1598 | 3196
7 | SMR11484 | Supply of earthing pipe with materials Supply of CI eath pipe with 50mm dia,2.0 M Length | 2 | EA | 2441 | 4882
8 | SWR10357 | Providing of Earthing Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, earth , running of earth wire etc., complete, including cost of bentonite and excluding cost of RCC collar of size 0.6M dia x 0.5 M height . | 2 | EA | 1100 | 2200
9 | SWR10653 | Formation of Cut points Formation of Cut point for 11 KV Single Circuit line excluding pole erection and stays | 7 | EA | 1119 | 7833
10 | SWR10238 | LOADING AND UN-LOADING of LINE MATERIALS 11KV AB Switch Conventional type | 2 | EA | 80 | 160
11 | SWR10556 | LOADING AND UN-LOADING of LINE MATERIALS 11KV AB Switch Conventional type | 2 | EA | 80 | 160
12 | SWR20308 | Sub-transport of poles upto Workspot upto 10KM (Including loading and unloading) 9.1 Mtrs long PSCC Poles | 18 | EA | 363 | 6534
13 | SWR34252 |  | 30 | M | 110 | 3300
14 | SWR10320 | Fabrication of materials including 2 coats of Red oxide painting Back clamps with 50 x 6 mm MS Flat | 5 | EA | 15 | 75
15 | SWR21590 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation 8.0 m long PSCC poles for Strut | 5 | EA | 894 | 4470
16 | SWR10107 | Excavation of pits in all soils except hard rock requiring blasting 0.76 M x 0.76M x 1.83M (2.6" x 2.6" x 6.0") 1.05 cum | 5 | EA | 377 | 1885
17 | SWR20307 |  | 5 | EA | 242 | 1210
Schedule Cost. (Excluding GST) | [5 empty] | 95459.36
Divisional Electrical Engineer,
Construction, Medchal Circle.

## T-2133-07-05-01-02-005)
Schedule (WBS No.T-2133-07-05-01-02-005)
for Interlinking of 11 KV Mandaipally feeder to 11 KV DMC Feeder emanating from 33/11KV Deveryamjal feeder by stringing 1.0KM 11 KV 100sq mm AAA Conductor OH Line 9.1 Mtrs PSCC Poles in Operation Shameerpet section of Shameerpet sub-Division in medchal Division in Medchal Circle under( T- 2133) Improvements works.
Sl.No. |  | Particulars | Qty | Rate in Rs. | Per Unit | Amount in Rs.
1 | SWR10366 | Paving out and stringing of conductor by providing temporary stays, tensioning, sagging correctly, fixing strain points, transferring to pin points binding, keeping stifner, rectification of poles, guys and jumpering etc., including transport of material from road side to location.Paving out and stringing of conductor by providing temporary stays, tensioning, sagging correctly, fixing strain 100 Sqmm Single Circuit (3 Conductors) | 1.05 | KM | 13585 | 14264.25
2 | SWR10343 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavationpoints, transferring to pin points binding, keeping stifner, rectification of poles, guys and jumpering etc., including 9.1 M long PSCC pole | 21 | EA | 1621 | 34041
3 | SWR10112 | Excavation of pits in hard rock requiring blasting. (other than SS)transport of material from road side to location. 0.76 M x 0.76M x 1.83M (2.6" x 2.6" x 6.0") | 21 | EA | 834 | 17514
4 | SWR10356 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Cement and curing etc.Mass concreting of supports incl. cement Including the cost of cement | 3.78 | M3 | 5160 | 19504.8
5 | SWR10393 | Erection of AB Switch and aligment complete Erection of 11KV 400/200A Conventional type AB Switch including fixing of cross angles and alignment complete | 1 | EA | 1598 | 1598
6 | SMR11487 | Supply of earthing pipe with materials Supply of MS bolts & nuts and washers etc of all sizes | 20 | KG | 73 | 1460
7 | SMR11484 | Supply of earthing pipe with materials Supply of CI eath pipe with 50mm dia,2.0 M Length | 1 | EA | 2441 | 2441
8 | SWR10357 | Providing of Earthing Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, earth , running of earth wire etc., complete, including cost of bentonite and excluding cost of RCC collar of size 0.6M dia x 0.5 M height . | 1 | EA | 1100 | 1100
9 | SWR10653 | Formation of Cut points Formation of Cut point for 11 KV Single Circuit line excluding pole erection and stays | 9 | EA | 1119 | 10071
10 | SWR10238 | LOADING AND UN-LOADING of LINE MATERIALS 11KV AB Switch Conventional type | 1 | EA | 80 | 80
11 | SWR10556 | LOADING AND UN-LOADING of LINE MATERIALS 11KV AB Switch Conventional type | 1 | EA | 80 | 80
12 | SWR20308 | Sub-transport of poles upto Workspot upto 10KM (Including loading and unloading) 9.1 Mtrs long PSCC Poles | 21 | EA | 363 | 7623
13 | SWR34252 | loading and unloading) | 15 | M | 110 | 1650
14 | SWR21590 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation 8.0 m long PSCC poles for Strut | 13 | EA | 894 | 11622
15 | SWR10107 | Excavation of pits in all soils except hard rock requiring blasting 0.76 M x 0.76M x 1.83M (2.6" x 2.6" x 6.0") 1.05 cum | 13 | EA | 377 | 4901
16 | SWR20307 | Sub-transport of poles upto Workspot upto 10KM (Including loading and unloading) 8 Mtrs long PSCC Poles | 13 | EA | 242 | 3146
loading and unloading)
|  | Schedule Cost. (Excluding GST) |  |  |  | 131096.05
109777.1

## T-2221-07-05-01-01-001
E-Procurement Schedule (WBS No.T-2221-07-05-01-01-001)
E-Procurement Schedule for Estimate for providing of 1No. additional 8 MVA PTR to the existing 2X12.5 MVA PTRs thus making total capacity of 2X12.5+1X8 MVA at 33/11KV Bachupally Sub-station in operation section Bachupally of Miyapur Sub -Division of Kukatpally Division of Medchal Circle- Under T&D PTR augmentation works- Reg.
Sl.No. | Estimate Quantity (Only figures) | SSR CODES | Item Detailed Description | Work Type eg., Earth Work, Electrical works..etc., (Upto 200 Characters) | Item short Description | APSS/Morth CI.Number (Upto 200 characters) | Rate INR upto 2 Decimals | UOM(upto 50 Characters) | Amount INR (Upto 2 Decimals)
CIVIL WORK SERVICES
1 | 6 | SWR34179 | Hire-JCB to Level & Clear the Site | Civil Work | Civil work | As per relevent standard specification | 893 | H | 5358
2 | 300 | SWR33018 | Excavation-HardRock(Blasting prohibited) | Civil Work | Civil work | As per relevent standard specification | 844 | M3 | 253200
3 | 22.3 | SWR33015 | Excavation in Ordinary Soil | Civil Work | Civil work | As per relevent standard specification | 437 | M3 | 9745.1
4 | 3.6 | SWR33028 | PCC with 40mm Metal (1:4:8) | Civil Work | Civil work | As per relevent standard specification | 4706 | M3 | 16941.6
5 | 55.7 | SWR33041 | CRS Masonary CM(1:6) 2nd Sort | Civil Work | Civil work | As per relevent standard specification | 4925 | M3 | 274322.5
6 | 1.2 | SWR33030 | PCC with 20mm Metal (1:2:4) | Civil Work | Civil work | As per relevent standard specification | 6449 | M3 | 7738.8
7 | 720.6 | SWR33052 | S&Filling with Borrowed Gravel | Civil Work | Civil work | As per relevent standard specification | 480 | M3 | 345888
8 | 38 | SWR33057 | S&Spreading of 20mm HBG Metal | Civil Work | Civil work | As per relevent standard specification | 1543 | M3 | 58634
9 | 43.05 | SWR33403 | S&F MS Security Fencing Mesh (2"X2") | Civil Work | Civil work | As per relevent standard specification | 2192 | M2 | 94365.6
10 | 80 | SWR34363 | S&F 28.60mm OD CPVC Pipe-SDR 11 | Civil Work | Civil work | As per relevent standard specification | 266 | M | 21280
11 | 60 | SWR34362 | S&F 22.20mm OD CPVC Pipe-SDR 11 | Civil Work | Civil work | As per relevent standard specification | 228 | M | 13680
12 | 30 | SWR34361 | S&F 15.90mm OD CPVC Pipe-SDR 11 | Civil Work | Civil work | As per relevent standard specification | 194 | M | 5820
13 | 25 | SWR34672 | Collar/ Rings of 600mm dia | Civil Work | Civil work | As per relevent standard specification | 350 | EA | 8750
14 | 30 | SWR34329 | S&F 12.7mm Bib Tap 400grams | Civil Work | Civil work | As per relevent standard specification | 275 | EA | 8250
15 | 1000 | SWR34375 | S&F Polyethylene Water Storage Tank | Civil Work | Civil work | As per relevent standard specification | 9 | L | 9000
16 | 19.98 | SWR34470 | Seigniorage Charges - Sand | Civil Work | Civil work | As per relevent standard specification | 40 | M3 | 799.2
17 | 103.58 | SWR34471 | Seigniorage Charges - Metal | Civil Work | Civil work | As per relevent standard specification | 75 | M3 | 7768.5
18 | 720.6 | SWR34472 | Seigniorage Charges - Gravel | Civil Work | Civil work | As per relevent standard specification | 30 | M3 | 21618
ELECTRICAL WORK SERVICES
19 | 8 | SWR10348 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports,back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavationRS Joist 150 x 150 mm | Erection | Erection of work | As per relevent standard specification | 1818.61 | EA | 14548.88
20 | 8 | SWR10107 | Excavation of pits in hard rock not requiring blasting. 0.76 M x 0.76M x 1.83M (2.6" x 2.6" x 6.0") 1.05 cum | Excavation pit work | Excavation of pits work | As per relevent standard specification | 491 | EA | 3928
21 | 1 | SWR10460 | Erection of AB Switches, VCBs, LAs, PTs, CTs, DTRs etc Erection of 33 KV VCB with Control Panel | Erection | Erection of work | As per relevent standard specification | 6346.08 | EA | 6346.08
22 | 4.8 | SWR23224 | SS Work Excavate-Pit for 33KV VCB | Excavation pit work | Excavation of pits work | As per relevent standard specification | 331 | M3 | 1588.8
23 | 1 | SWR10732 | Con of Plinth for 11kv VCB 1.8x1.8x0.75m | Plinth work | Construction of plinth | As per relevent standard specification | 26086 | EA | 26086
24 | 13.5 | SWR11847 | Cnstrct-PTR Plint 3x3x1.5m 0.45m & 1.05m | Plinth work | Construction of plinth | As per relevent standard specification | 5053 | M3 | 68215.5
25 | 100 | SMR11487 | Supply of earthing pipe with materials -Supply of MS bolts & nuts and washers etc of all sizes | Earthing | Earthing of work | As per relevent standard specification | 91.25 | KG | 9125
26 | 17 | SMR11482 | Supply of earthing pipe with materials -Supply of CI earth pipe 100 mm dia, 2.75 mt long thickness 10mm with flange as per specification | Earthing | Earthing of work | As per relevent standard specification | 3486 | EA | 59262
27 | 17 | SWR10357 | Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, earth ,running of earth wire etc., complete, including cost of bentonite and excluding cost of RCC collar of size 0.6M dia x 0.5 M height . | Earthing | Earthing of work | As per relevent standard specification | 1210 | EA | 20570
28 | 2 | SWR11863 | Transport of conductor drums, cable drums, fragile material such as kiosks, VCBs, control panels,current transformers, boosters, lightning arrestors, insulators, transformers, meters (which are less in weight and occupy more space) (excluding of loading unloading) | Transportation | Transportation of Material | As per relevent standard specification | 4287 | EA | 8574
29 | 1 | SMR40033 | Supply of Copper Flexible jumper with 75 X 8 of length 250 mm at neutral of Power tranformer end and 50 X 6 of length 50mm two Nos at double neutral end duly brasing with flexible jumper of capacity of 5kA/3 sec for power transformer neutral. | Supply | Supply of work | As per relevent standard specification | 4725 | EA | 4725
30 | 2 | SWR10396 | Erection of 33 KV LAS station/Line type including earthing | Erection | Erection of work | As per relevent standard specification | 880 | SET | 1760
31 | 0.434 | SWR11890 | Mass Concreting for pole Coping of 1.5'x1.5'x1 with 1:8 slope Using form boxes (0.031Cumt.) | Mass concreting work | Mass concreting of work | As per relevent standard specification | 3893 | M3 | 1689.562
32 | 900 | SWR11879 | Control Cable Laying of 4 core/10 core 2.5 sq. mm.Copper control cable in aready excavation trench including cost of providing single compress glands at both ends . | Control Cable Laying | Control Cable Laying Work | As per relevent standard specification | 19 | M | 17100
33 | 200 | SWR20813 | Cable terminations to the switch gear marshalling boxes/panel terminal blocks/control and relay panels LT AC panel including providing suitable ferrules and lugs as per specification (including cost of ferrules, lugs and glands. | Cable terminations | Cable termination work | As per relevent standard specification | 27 | LS | 5400
34 | 10.28 | SWR10356 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand,Cement and curing etc.Including the cost of cement | Mass concreting work | Mass concreting of work | As per relevent standard specification | 6450 | M3 | 66306
35 | 17 | SWR10359 | Providing of RCC Collar guarding to the existing earth pits with damaged masonry including dismantling and removing of existing masonry and fixing the RCC collar of 0.60 M dia X 0.50 M height | Providing of RCC collar to earth pit. | Providing of RCC collar to earth pit work | As per relevent standard specification | 386 | EA | 6562
36 | 6 | SMR22473 | Supply of various Clamps Supply of clamps as per IS 5561- 1970 , 12mm thickness with Alluminum and Alluminum alloy -Supply of I Bolts | Supply clamps work | Supply of clamps work | As per relevent standard specification | 294 | EA | 1764
37 | 6 | SWR10423 | Fixing of clamps I - bolts | Erection | Erection of work | As per relevent standard specification | 20 | EA | 120
38 | 12 | SMR11915 | Supply of Tension Hardware 3 Bolted for single Zebra/panther with 150 mm spacing. | Supply work | Supply of work | As per relevent standard specification | 2055 | SET | 24660
39 | 40 | SMR40011 | Supply of Aluminiam alloy T clamps controling to A6 of IS 617 1994 & hot dip galvanised with Nuts & Bolts including spring with hot dip galvanised bolts and double nuts with spring and flat washers of size M10 x 65 i.e(3/8" x 21/2 " to suit for panther ACSR on all three ways /on one side and Zebra ACSR on take off side or any other combination for carrying 800 A current rating . | Supply work | Supply work | As per relevent standard specification | 299 | EA | 11960
40 | 2 | SMR40049 | Marshalling Box -Supply of MS Powder coted PT Marshalling Box | Supply work | Supply work | As per relevent standard specification | 4095 | EA | 8190
41 | 2 | SWR21750 | Marshalling Box -Erection of marshalling box on the structure (pole mounted type) | Erection work | Erection of work | As per relevent standard specification | 1117.5 | EA | 2235
42 | 5 | SWR10392 | Erection of AB Switch and aligment complete- Erection of 33 KV AB Switch including alignment and earthing | Erection work | Erection of work | As per relevent standard specification | 2663 | EA | 13315
43 | 7 | SWR10881 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding Painting of operating rods of 33kV, 11kV AB switches with post office red colour (including cost of paint) | Painting work | Painting of work | As per relevent standard specification | 142 | EA | 994
44 | 1 | SWR10401 | Erection of AB Switches, VCBs, LAs, PTs, CTs, DTRs etc Erection of 33 KV single phase PTs | Erection work | Erection of work | As per relevent standard specification | 1079 | SET | 1079
45 | 6 | SMR40025 | Supply of various Clamps Supply of clamps as per IS 5561- 1970 , 12mm thickness with Alluminum and Alluminum alloy Supply of Alluminum PT clamps conforming to A6 of IS 617, with hot dip galvanised bolts and nuts suitable for single zebra / Panther | Supply work | Supply work | As per relevent standard specification | 368 | EA | 2208
46 | 212.7 | SWR10920 | Laying of earth mat including excavation of trenches of depth 600mm,welding, connecting to equipment and connecting lightning shield to earth mat and earthing of fence posts, drilling and connecting earth rods including connecting cast iron pipes with the following sizes of MS Flats /GI Flats. including fabrication 75x 8mm MS Flat / GI Flat. | Earthing | Earthing of work | As per relevent standard specification | 65 | RMT | 13825.5
47 | 6 | SWR10266 | LOADING of LINE MATERIALS 33 KV10 KA LAs Station type | Loading work | Loading of work | As per relevent standard specification | 41 | EA | 246
48 | 6 | SWR10584 | UNLOADING of LINE MATERIALS 33 KV10 KA LAs Station type | Un - Loading work | Un - Loading of work | As per relevent standard specification | 35 | EA | 210
49 | 5 | SWR10239 | LOADING of LINE MATERIALS 33 KV AB SWCH Con 400/800 A | Loading work | Loading of work | As per relevent standard specification | 126 | EA | 630
50 | 5 | SWR10557 | UNLOADING of LINE MATERIALS 33 KV AB SWCH Con 400/800 A | Un - Loading work | Un - Loading of work | As per relevent standard specification | 79 | EA | 395
51 | 1 | SWR10198 | LOADING of LINE MATERIALS33 KV VCBs&Panel boards | Loading work | Loading of work | As per relevent standard specification | 1024 | EA | 1024
52 | 1 | SWR10516 | UNLOADING of LINE MATERIALS 33 KV VCBs&Panel boards | Un - Loading work | Un - Loading of work | As per relevent standard specification | 1024 | EA | 1024
53 | 8 | SWR10205 | LOADING of LINE MATERIALS RSJoists150 x 150 mm/RailPole | Loading work | Loading of work | As per relevent standard specification | 176 | EA | 1408
54 | 8 | SWR10523 | UNLOADING of LINE MATERIALS RSJoists150 x150 mm/RailPol | Un - Loading work | Un - Loading of work | As per relevent standard specification | 107 | EA | 856
55 | 6 | SWR10204 | LOADING of LINE MATERIALS R.S. Joists 175 x 85 mm | Loading work | Loading of work | As per relevent standard specification | 76 | EA | 456
56 | 6 | SWR10522 | UNLOADING of LINE MATERIALS R.S. Joists 175 x 85 mm | Un - Loading work | Un - Loading of work | As per relevent standard specification | 50 | EA | 300
57 | 40 | SMR11488 | Supply of earthing pipe with materials -Supply of GI Bolts & Nuts etc | Supply work | Supply work | As per relevent standard specification | 117.5 | KG | 4700
58 | 6 | SWR20685 | SS works Cement concrete with 40MM metal VCB plinth | Erection | Erection of work | As per relevent standard specification | 5160 | M3 | 30960
59 | 6 | SWR10105 | Excavation of pits in all soils except hard rock requiring blasting 0.76 M x 0.76M x 1.52M (2.6" x 2.6" x 5.0') 0.88 cum | Excavation pit work | Excavation of pits work | As per relevent standard specification | 474 | EA | 2844
60 | 200 | SMR11485 | Supply of earthing pipe with materials Supply of GI Flat 25X3 mm | Supply work | Supply work | As per relevent standard specification | 105 | KG | 21000
61 | 1 | SWR10402 | Erection of AB Switches, VCBs, LAs, PTs, CTs, DTRs etc Erection of 11 KV three phase PTs | Erection | Erection of work | As per relevent standard specification | 800 | SET | 800
62 | 5.7 | SWR10150 | Transport of steel including line materials such as cross arms,clamps, hardware, cable (loose) and other line materials (Including loading and unloading) Above 30 KM and upto 50 KM | Transportation | Transportation of Material | As per relevent standard specification | 605 | TO | 3448.5
63 | 4.5 | SWR10206 | LOADING of LINE MATERIALS M.S.Channels, Angles, Flats & Rods etc., | Loading work | Loading of work | As per relevent standard specification | 221 | TO | 994.5
64 | 4.5 | SWR10524 | UNLOADING of LINE MATERIALS M.S.Channels, Angles, Flats & Rods etc., | Un - Loading work | Un - Loading of work | As per relevent standard specification | 185 | TO | 832.5
65 | 2 | SWR10238 | LOADING of LINE MATERIALS 11 KV AB SWCH Con 200/400 A | Loading work | Loading of work | As per relevent standard specification | 80 | EA | 160
66 | 2 | SWR10556 | UNLOADING of LINE MATERIALS 11 KV AB SWCH Con 200/400 A | Un - Loading work | Un - Loading of work | As per relevent standard specification | 80 | EA | 160
67 | 1 | SWR10199 | LOADING of LINE MATERIALS 11 KV VCBs&Panel boards | Loading work | Loading of work | As per relevent standard specification | 1024 | EA | 1024
68 | 1 | SWR10517 | UNLOADING of LINE MATERIALS 11 KV VCBs&Panel boards | Un - Loading work | Un - Loading of work | As per relevent standard specification | 1024 | EA | 1024
69 | 900 | SWR23105 | SS works L-PVC Control Cb 4, 10C | Erection | Erection of work | As per relevent standard specification | 1 | M | 900
70 | 900 | SWR23106 | SS works UL-PVC Control Cb 4, 10C | Erection | Erection of work | As per relevent standard specification | 0.15 | M | 135
71 | 12 | SMR40133 | S-185 Sqmm Alluminium Lug | Erection | Erection of work | As per relevent standard specification | 13 | EA | 156
72 | 5.7 | SMR40009 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding Supply of material cost for First coat of 1st Grade Aluminium Paint,brushes etc. | Paint work | Painting work | As per relevent standard specification | 2181 | TO | 12431.7
73 | 5.7 | SWR10877 | Labour charges for painting including scratching and cleaning of Substation structures of 1st coat of Aluminium | Paint work | Painting work | As per relevent standard specification | 851 | TO | 4850.7
74 | 5.7 | SMR40010 | Supply of material cost for Second coat of 1st Grade Aluminium Paint,brushes, etc. | Paint work | Painting work | As per relevent standard specification | 1293 | TO | 7370.1
75 | 5.7 | SWR10879 | (*) Labour charges for painting including scratching and cleaning of Substation structures of 2nd coat of Aluminium . | Paint work | Painting work | As per relevent standard specification | 482 | TO | 2747.4
76 | 10 | SWR12005 | Raise-DR 11KV 3x300sqmm UG Cb on support | Raising | Raising of Cable work | As per relevent standard specification | 270 | M | 2700
77 | 30 | SWR11997 | Lay-DR 11KV 3x300sqmm UG Cb FootPath GI | Laying | Laying of Cable work | As per relevent standard specification | 560 | M | 16800
78 | 4.5 | SWR10869 | Fabrication of Main and Auxiliary structures with welding using raw steel such as RS joist, M.S.Angles, Plates, Channels, including the supply and fabrication of 6mm base plate to the RS-Joist poles excluding cost of Mild Steel and transport charges to substation site, including erection. | Fabrication | Fabrication of work | As per relevent standard specification | 3426 | TO | 15417
79 | 1 | SWR11892 | Providing of earthing with various types of earth ectrodes.Providing of double earthing for neutral with flexible copper jumpers including arrangement by fixing M.S.Channel 100x50mm. | Earthing | Earthing of work | As per relevent standard specification | 1323 | EA | 1323
80 | 333 | SWR10919 | Fabrication and connecting to risers from earth mat to structures, equipment,marshalling boxes, electrical panels, PLCC panels, fencing posts etc.M.S./ G.I. Flat 50x6mm / 50 x 8 mm ( Above ground) | Earthing | Earthing of work | As per relevent standard specification | 41 | RMT | 13653
81 | 16 | SWR10884 | Bus Stringing Connection of equipment to bus and or another equipment with single zebra/Panther conductor including measuring, cutting,clamping and hoisting of suspension insulator assembly to support the conductor wherever necessary. | Stringing | Stringing of work | As per relevent standard specification | 224 | EA | 3584
82 | 7 | SWR12331 | Making of coil earthing pole with 8mm GI wireNut&Bolts for AB Switch | Earthing | Earthing of work | As per relevent standard specification | 143.75 | EA | 1006.25
83 | 28.67 | SWR10404 | Stringing of bus with panther conductor including jumpering etc., complete to all the equipment in SS fixing to all clamps and equipment.(3 Conductors) | Stringing | Stringing of work | As per relevent standard specification | 321.25 | M | 9210.2375
84 | 1 | SWR10461 | Erection of AB Switches, VCBs, LAs, PTs, CTs, DTRs etc -Erection of 11 KV VCB with Control Panel | Erection | Erection of work | As per relevent standard specification | 5556.8 | EA | 5556.8
85 | 2 | SWR21240 | Bus Stringing Hoisting of Insulators and hardware, stretching the conductor and stringing of 33 kV bus comprising of three phases with Single ebra/panther conductor to a tension of 450kgs.(Bus section of 4.5mt) | Stringing | Stringing of work | As per relevent standard specification | 781 | EA | 1562
86 | 4 | SWR23204 | Making of Outdoor/Indoor End Termination S&Fix-3x300sqmm 11KV UG Cb OD End Kit | Supply and Fixing of End Termination Kit | Supply and Fixing of End Termination Kit work | As per relevent standard specification | 3236 | EA | 12944
87 | 40 | SWR10917 | Labour for Fixing of all types of clamps | Fixing of clamps | Fixing of clamps work | As per relevent standard specification | 65 | EA | 2600
88 | 2 | SWR21277 | Erection of 11KV 800A double throw AB Switches | Erection | Erection of work | As per relevent standard specification | 2134 | EA | 4268
89 | 10.8 | SWR20768 | Earth work excavation of in all soils except hard rock requiring blasting. | Erection | Erection of work | As per relevent standard specification | 345 | M3 | 3726
90 | 6 | SWR20863 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports,back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation Erection of 5 Mts RS Joist (Bit) Pole including fixing of Pole Mounted Box | Erection work | Erection of work | As per relevent standard specification | 1023.75 | EA | 6142.5
91 | 2 | SWR10187 | LOADING of LINE MATERIALS 8M PSCC POLE | Loading work | Loading of work | As per relevent standard specification | 76 | EA | 152
92 | 2 | SWR10505 | UNLOADING of LINE MATERIALS 8M PSCC POLE | Un - Loading work | Un - Loading of work | As per relevent standard specification | 37 | EA | 74
93 | 1 | SWR10188 | LOADING of LINE MATERIALS 9.1M PSCC POLE | Loading work | Loading of work | As per relevent standard specification | 182 | EA | 182
94 | 1 | SWR10506 | UNLOADING of LINE MATERIALS 9.1M PSCC POLE | Un - Loading work | Un - Loading of work | As per relevent standard specification | 91 | EA | 91
95 | 2 | SWR10105 | Excavation of pits in all soils except hard rock requiring blasting 0.76 M x 0.76M x 1.52M (2.6" x 2.6" x 5.0') 0.88 cum | Excavation pit work | Excavation of pits work | As per relevent standard specification | 474 | EA | 948
96 | 2 | SWR10342 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports,back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation 8.0 m long PSCC pole | Erection work | Erection of work | As per relevent standard specification | 1163 | EA | 2326
97 | 1 | SWR10343 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports,back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation 9.1 m long PSCC pole | Erection work | Erection of work | As per relevent standard specification | 2108 | EA | 2108
98 | 1 | SMR40045 | Control Panels- Supply of AC Supply panel inluding providing of changeover switch, SFU,metering unit, 32 A three phase MCB, 16 A Single phase MCB complete as per specification. | Supply of Control Panels- | Supply of Control Panels work | As per relevent standard specification | 42000 | EA | 42000
99 | 1 | SWR11893 | Control Panels Erection of control/Relay panels, AC Panels, announciation panels etc in the control room duly mounting them on channels and grouting them with foundation bolts excluding cost of channels & foundation bolts | Erection of Control Panels- | Erection of Control Panels work | As per relevent standard specification | 2122 | EA | 2122
100 | 4 | SWR11880 | Control Cable terminations to the switch gear marshalling boxes/panel terminal | Laying | Laying of Control Cable work | As per relevent standard specification | 33.75 | EA | 135
101 | 1 | SWR10107 | Excavation of pits in hard rock not requiring blasting. 0.76 M x 0.76M x 1.83M (2.6" x 2.6" x 6.0") 1.05 cum | Excavation work | Excavation pit work | As per relevent standard specification | 491 | EA | 491
TOTAL AMOUNT(EXCLUDING GST) | [8 empty] | 1819505.8095