# SOUTHERN POWER DISTRIBUTION COMPANY OF T.S LIMITED

# SE/OP/Gadwal,

# BID DOCUMENT

Specification No:    SE/OP/Gadwal-M-04/2023-24.

Description of the Material: Supply of 11 KV 400 A DB AB Switch moving contact

Issued to Sri/Smt. M/s. ---------------------------------------------------------------

---------------------------------------------------------------

--------------------------------------------------------------

Superintending Engineer

Phone: 7901094508.			         Operation, TSSPDCL,

Gadwal

SOUTHERN POWER DISTRIBUTION COMPANY OF TELANGANA LTD

O/o. Superintending Engineer,

Operation, TSSPDCL,

#### Gadwal.

## SPECIFICATION NO. SE/OP/Gadwal Circle-M-04/2023-24.

## LAST DATE FOR RECEIPT OF TENDERS:  	07.10.2023 UP TO 14-00 Hrs

## DATE OF OPENING OF TENDERS	:	07.10.2023  AT 15-00 Hrs

PRICE Rs.590/- (Incl.of G.S.T).

SOLD TO MESSRS. ____________________________________________________________________

____________________________________________________________________

VIDE DEMAND DRAFT NO. ______________________ DATED _____________

BANK ______________________________ AMOUNT Rs. ____________________

Superintending Engineer,

##### Operation, Gadwal,TSSPDCL.

NOTE:

# This sheet must be enclosed to the tenders

SOUTHERN POWER DISTRIBUTION COMPANY OF TELANGANA LTD

##### From								To

The Superintending Engineer,				M/s

Operation, TSSPDCL,

Gadwal

Dear Sir,

## Specification No.: 	SE/OP/Gadwal –M-04/2023-24

Name of the Material: Supply of 11 KV 400 A DB AB Switch moving contact

- You are requested to quote your lowest rate for supply of the materials and quantities as per schedule given in the specification.

- The following are also herewith enclosed.

I. General

II. Financial

III. Technical

- The cost of the specification is Rs. 590/- (Rupees Five hundred ninety only) and the same should be remitted to company by way of D.D drawn in favour of Accounts Officer/Expenditure/CO/TSSPDCL/Jogulamba Gadwal. You are requested to quote minimum order quantity as specified.

The last date and time for receipt of tender is at 14-00 Hrs on 07.10.2023.

And the opening of the tender is at 15-00 Hrs on 07.10.2023 at this office.

- The following instructions may be noted.

  - The offers should be sent in Duplicate.

  - The tender covers properly sealed should be sent by Registered Post to avoid any misplacement in transit.

  - The tenderers have to quote for materials as per the specification enclosed.

  - The tender covers should be addressed to the  Superintending Engineer/Operation/Gadwal, 33/11KV Substation Compound, Nadhi Agraharam Road,Gadwal-509125 and should be delivered at O/o. SE/OP/Gadwal or sent by post to the same address.

  - Tenders received after the due date and time will not be accepted.

  - Form III-A indicating various items to be filled in by the tenderers are enclosed. The same should be filled in by the tenderer and submitted along with the tender.

- The tender cover should be super scribed as indicated below:

1.  Name of the material		:

2.  Tender against Specification No.	:

3.  Due date and time for submission	:

4.  Due date and time for opening	:

5.  Payment for Bid Security	and Cost of Application	:

Amount:			D.D/BG.No.			Date Validity:

6.  Whether 90 days validity offered		:           	YES/ NO

7.  Whether the COMPANY payment terms are     :		YES/NO

accepted.

8.   Whether cost of specification has	   :			YES/NO

been enclosed.

9.  Whether the delivery is as per delivery	     :	 	YES/NO

Schedule indicated by the company

10. Whether sample (if specified) has                        :	YES/NO

been enclosed or sent.

- The tenders will be opened in the presence of such of the tenderers or their authorized representatives who may desire to be present. If the opening day is declared as holiday by the Government the tender will be received and opened on the next working day.

- You are further informed that the COMPANY reserves the right to accept or reject any or all the tenders received without assigning any reasons therefore. The COMPANY also reserves the right to split up the tender and place orders on more than one tenderer at its discretion.

Superintending Engineer,

Operation,TSSPDCL,Gadwal.

Eligibility Criteria:  The following documents shall invariably to be submitted.

| Sl.nO | Certificate | Remarks |
| --- | --- | --- |
| 1 | Cost of Bid Document | Mandatory |
| 2 | Bid security (2% of total value of the materials offered) in the form of original DD/Banker’s Cheque drawn in favour of Accounts Officer/Expenditure/CO/TSSPDCL/Jogulamba Gadwal, payable at Gadwal. | Mandatory |
| 3 | Copy of GST Registration certificate (GST Number) | Mandatory |
| 4 | Copy of Latest Income Tax Return & Pan Card | Mandatory |
| 5 | Filled FORM – III ‘A’ | Mandatory |
| 6 | Copy of authorization from the manufacturer or shall submit document establishing as the manufacturer. | Optional |
| 7 | Litigation on history statement | Mandatory |
| 8 | Copy of financial turnover in the preceding 5 financial years certified by the Chartered Accountant (2017-18 to 2023-24) | Mandatory |
| 9 | Turn over – 50% of the bid value during any one year in the preceding 5 financial years | Mandatory |
| 10 | Self declaration by the bidder in token of having gone through carefully and thoroughly all the terms & conditions mentioned in the bid document | Mandatory |
| 11 | Copy of performance certificate for supply of the similar material 50% of the present schedule rate | Mandatory |
| 12 | Copy of Liquid Assets/Solvency certificate for not less than 50% of the Bid value issued not earlier than Six months prior to the date of Bid opening. | Mandatory |
| 13 | Sample of the material | Mandatory |
| 17 | Full technical particulars along with descriptive literature | Mandatory |
| 18 | Copy of firm Registration/Registered partnership deed in case of firm. | Mandatory |
| 19 | Guaranteed Technical Particulars of CI Pipes | Mandatory |
| 20 | Copy of Valid registration certificate from TSSPDCL/ APCPDCL/ TSTRANSCO/ APTRANSCO/ R&B Department/ Any other Government departments to supply the such type of material | Optional |
| 21 | Copy of latest test certificates containing the result of the tests as per the relevant ISS or other specification | Optional |

Note:-All the enclosures except bid security shall be signed by the tenderer owning the responsibility for correctness & authorized information.

SIGNATURE OF THE TENDERER

FORM – III ‘A’

(To be filled by the Tenderer)

- Tender Notification No.			:

- Specification No.				:

- Name of the Material.			:

- Quantity on enquiry.			:

- Last date and time for submission of tender :

- Date and time for opening of tender.	:

- 2% Bid Security details 			:

Amount, D.D/BG.No. & Date/Validity

- State whether the quotation is in single	:

part/Two part.

- State whether 20% minimum quantity is	:

quoted.

- Are you prepared to furnish performance

B.G @ 10% if order is placed.

:

- Cost of specification whether remitted.	:

- Have you indicated month wise delivery	:

schedule.

- Prices whether variable/Firm.		:

- Whether S.T is included/Excluded.	:

- State whether TSSPDCL’s terms of payment

are accepted.				:

- Quantity offered for supply.		:

- State whether 90 days validity offered.	:

- Whether sample is enclosed if specified.	:

- Whether the material/equipment offered

confirms to be relevant TSSPDCL’s/ISS

Specifications and drawings.		:

- Whether you had executed orders of the

TSSPDCL previously for the items tendered

Now.  Please give full details.		:

- Give similar details in respect of supplies

Made to other S.E.Es.			:

- Whether sales tax clearance certificate

enclosed.					:

- Whether Income tax clearance certificate

enclosed.					:

SIGNATURE OF THE TENDERER.

Section-I

GENERAL

  - SCOPE OF WORK:

    - This specification covers the manufacture, testing and delivery FADS/F.O.R. Destination of the material as detailed in the schedule attached to the specification.

  - FILLING UP OF SCHEDULES:

    - All the schedules should be duly filled in but not necessarily in the form sheets attached to the specification. Unless full details required in his schedule are furnished, tender offers will not be considered.

  - CLEARING OF DOUBTS:

    - If the tenderer has any doubt about the meaning of any portion of this specification, he should at once, obtain the required clarification/information in writing from the Superintending Engineer/Operation/Gadwal Circle/TSSPDCL, Jogulamba Gadwal.

  - COST OF SPEFICATION:

    - The suppliers should enclose the cost of specification which will be indicated in the enquiry by way of D.D. drawn in favour of Accounts Officer/ Expenditure/CO/TSSPDCL/Jogulamba Gadwal while submitting the tender. If the cost of specification by way of D.D is not enclosed along with the tender offer, the tender would be liable for disqualification.

  - BID SECURITY:

    - Each tenderer must pay the Bid Security to a value of two percent (2%) of the total value of the materials offered. This amount should be paid by way of crossed Demand D raft in favour of Accounts Officer/ Expenditure/CO/TSSPDCL/Jogulamba Gadwal payable at Gadwal. or Bank Guarantee in the name of Accounts Officer/ Expenditure/CO/TSSPDCL/Jogulamba Gadwal from any Nationalized Bank or any other scheduled bank. The crossed D.D/BG shall compulsorily be enclosed to the tender.

    - Submission of Bid Security by way of cheque, cash, money order or call deposit will not be accepted and will be considered as disqualification.

    - Request for exemption from payment of Bid Security will not be entertained in any case even though the tenderers are registered with D.G.S. and D. and N.S.I.C.

    - Payment of 2% Bid Security is must for all the Tenderers for each tender otherwise the Bid will be rejected without any correspondence. This is applicable for Registered Vendors, PBS holders & SSI manufacturing units also.

    - The Bid Security will be refunded to unsuccessful tenderers on application after intimation of the rejection of tender.  In the case of successful tenderer or tenderers, the Bid Security may be adjusted towards part security deposit in cases where such Bid Security has been paid separately for the tender does not form the permanent Bid Security.

    - The Bid Security will be forfeited in the following cases:

- When the successful tenderer does not accept the order after issue of   preliminary acceptance letter or the letter of intent.

- When the successful tenderer fails to furnish the Performance Security Deposit within 15 days from the date of issue of preliminary acceptance letter or the letter of intent.

- When tender is disqualified for the reasons outlined in para 1.13.9.

- When a tenderer alters his price or withdraws his offer during the validity period.

    - The fact of having enclosed the Bid Security by Demand Draft/BG along the tender should be clearly super scribed on the sealed envelope.

    - Tenders which do not contain the above superscription on the sealed envelope shall be returned to the respective tenderers unopened without any consideration whatsoever.

    - Cases where the Bid Security is super scribed on the cover but the Demand Draft/BG is not found within shall run the risk of being blank listed by the TSSPDCL.

1.6	VALIDITY OF TENDER:

  - .1	Tender should be kept valid and open for acceptance for a period of 90 days counting from the date of opening of the tenders.  The period of validity cannot be counted from any date other than the date of opening of the tenders.  The tenders will not be permitted to withdraw or vary their offers once made within 90days from the date of opening of the tender and if they do so the Bid Security will be forfeited.

    - The tenderer should clearly super scribe on the sealed tender envelope about the validity of tender, i.e., No. of days.  Any offer giving a lesser period of validity other than 90 days is liable to be returned un-opened at the discretion of the TSSPDCL.

1.7	PAST PERFORMANCE:

1.7.1      The tenderer should furnish full particulars regarding supplies of the materials in question made so far to this TSSPDCL and other DISCOMS and organizations in India.

1.8	TAX CLEARANCE CERTIFICATES:

    - Copies of Income Tax, sales tax and Turnover Tax certificates for the latest period from the appropriate income authority shall invariably be enclosed to the tender.  In the case of propriety or partnership firm it will be necessary to produce the certificate/certificates for the proprietor of proprietors and for each of the partners as the case may be.  If the certificate has already been produced by the tenderer during the calendar year in which the tender is made, it will be sufficient if particulars of the previous occasion are given.

  - SERVICE CONDITIONS:

    - The equipment/materials offered shall be entirely satisfactory for operation under the climatic conditions indicated below:

a)    Maximum ambient air temperature (shade)	                         50/450 C

b)    Maximum ambient air temperature (under sun)                         700 C

c)    Maximum daily average ambient air temperature                      350 C

d)    Maximum yearly average ambient air temperature                   300 C

e)    Minimum ambient temp. of air                                                 7.50 C

f)    Maximum humidity	100%

g)	Attitude above M.S.L.                                                   Up to 1000 M

h)	Average No. of thunder storm days per annum                          50

i)	Average No. of dust storm days per annum                       Occasional

j)	Average No. of rainy days/annum                                             90

k)	Average Annual Rain fall                                                        925 mm

l)	Normal tropical monsoon period                                           4 months

m)	Maximum wind pressure                                                   150 kg/sq.m

    - Due consideration will be given to any special devices or attachments put forward by the tenderer which are calculated to enhance the general utility and the safe and efficient operation of the equipment/materials.

  - QUANTITY TO QUOTE:

    - Suppliers would be required to quote as per schedule.

  - COMPLETENESS OF TENDER:

    - The tender should be complete with all details of materials, illustrative and descriptive literature and drawings, and information regarding the country of manufacture and origin of materials used in the manufacture of the articles.  Tenders not accompanied by this information are liable for rejection.

    - The tenderer should include all minor accessories not specifically mentioned in the specification but essential for the completeness of the equipment.  The tenderer shall not be eligible for any extra charges in respect of such minor accessories, even though they are not mentioned in the tender specification.

  - DEVIATION FROM SPECIFICATION:

    - No deviation from the terms and conditions are allowed.  All tenders should strictly conform to the conditions notified.  Any tenders not strictly in conformity with the notified conditions are liable to be rejected.

  - DUE DATE AND SUBMISSION OF TENDER:

    - Tenders complete with all schedules and tender forms filled in together with all accompanying tender drawings, descriptive and illustrative literature must be sent in a sealed cover kept in an outer sealed cover both addressed to the Superintending Engineer/Operation/Gadwal, 33/11KV Substation Compound, Nadhi Agraharam Road,Gadwal-509125 so as to reach him by the due date and time specified in the tender enquiry.  The name of the Supplier/tenderer should be clearly written both on the sealed cover and outer envelope.

    - The sealed cover as well as the outer envelope should be super scribe as follows:

a)        Tender against Specification No.

- Due date and time for submission.

c)       Date and time for opening.

d)       Payment of Bid Security and Cost of Bid document.

i)    Paid details:  Amount,             D.D. No                   Date

e)    Whether 90 days validity offered	 YES / NO

f)     Whether the quotation is made on 30 days payment basis	 YES / NO

g)     Whether cost of specification has been remitted YES / NO

h)     Whether the delivery is as per delivery schedule indicated	  YES / NO

    - Tenders not super scribed as in clause 1.13.2 are liable to be rejected.

    - The tenderers shall invariably complete forms III’A’ attached to the specification and enclose the same to the tender without fail.

    - The time of actual receipt in the office only will count for the acceptance of the tender and not either the date of tender, date stamp of post office or date stamp of any other office.  The TSSPDCL will not be responsible for any postal or any other transit delays.

    - The tenderers who have been purchased specification only should quote.

    - Standard printed condition attached to the tender will not be accepted.  Only those    mentioned in the body of the tender will be considered.  Should the tenderer wish to depart from the provision of this specification, he shall list such departures in the body of the tender and submit full particulars and reasons for such departure.  Unless so specifically brought out and explained the equipment /materials offered, shall be considered to comply in every respect with the terms and conditions contained in the specifications.

    - Telegraphic quotations will not be entertained under any circumstances.  Clarifications, amplications and/or any other correspondence from the tenderer subsequent to the opening of tender will not be entertained.  The tenderers are advised to ensure that their tenders are sent in complete shape at the first instance itself.

    - Post tender rebates revisions or deviations in quoted prices and / or conditions or any such offers which will give a benefit to the tenderer over others will not only be rejected outright but the original tender itself will get disqualified on this account and the tenderer’s Bid Security will be forfeited.

1.14	      TENDER OPENING DATE:

    - Tenders will be opened at the office of the Superintending Engineer/Operation/ TSSPDCL/Gadwal on the date and time as specified therein the presence of such of those tenderers or their authorized representatives as may desire to be present.  If tender opening day is declared as holiday by the Government the tenders will be received and opened on the next working day.

  - ACCEPTANCE:

    - It is not binding on the TSSPDCL to accept the lowest or any tender. The 
TSSPDCL reserves the right to place orders for individual items with different tenders and to revise the quantities at the time of placing the order and to order extra materials up to the extent of the offered quantities within the validity of the tender.  The orders for the items may be split up between different tenderers to facilitate quick delivery of the materials required.  The TSSPDCL also reserves the right to accept or reject any particular tender without assigning any reasons therefore.

    - The TSSPDCL reserves the right to vary the ordered quantity at the time of award up to 50% after by a certain percentage during the execution of the order.

  - POST TENDER OFFERS:

    - Under no circumstances shall a tenderer alter his price during the validity period after tenders are opened.  Any tenderer who does so resulting in recalling of tenders by the Superintending Engineer/Operation/Gadwal or additional expenditure to the TSSPDCL shall not only loose his Bid Security but also run the risk of being blacklisted by the TSSPDCL which reserves the right under the law to recover damages resulting there from.

  - INTERCHANGEABILITY:

    - All similar materials and removable parts of similar equipment shall be interchangeable with each other.  A specific confirmation of this should be furnished in the tender.

  - PLACES OF LOCATION:

    - Particulars of site location and nearest rail heads to which the equipments / material have to be supplied will be given to successful tenderers.

  - DELIVERY:

    - Delivery period shall be reckoned from the date of detailed purchase order.  The delivery quoted shall be firm, definite, un-conditional and on the basis of receipt of materials at destination in good condition without any bearing on the procurement of raw materials or any similar pre-requisites.  The commencement date and date of delivery shall be indicated.  The preferred delivery time which is the essence of this specification is indicated.  The preferred delivery time which is the essence of this specification is indicated in the schedule.  Final deliveries are however, subject to confirmation at the time of placing the letter of intent.  Delay in delivery of materials F.O.R. Destination/FADS due to non-availability a railway booking, non-allotment of wagons and any such reasons will not be considered.  It is the responsibility of the supplier to make alternative arrangements for transporting the materials by road or rail so as to see that the materials reach the destination within the stipulated period.  TSSPDCL reserves its right to defer the delivery date at any time after orders are placed giving not less than 2 months notice without any change in the other conditions of supply.  The delivery period which shall be reckoned from the date of the detailed purchase order shall be guaranteed under penalty as in clause 2.11.

  - TEST CERTIFICATES:

    - The latest test certificates containing the result of the tests as per the relevant ISS or other specification stipulated must be submitted to the Superintending Engineer/Operation/Gadwal and got approved by him.

    - The tenderer should specifically mention about furnishing the manufacturer’s test certificates and a specimen form of test certificate should be furnished along with the tender.

    - The tenderer shall submit authorization from the manufacturer or shall submit document establishing as the manufacturer.

  - INSPECTION:

    - The accredited representative of the TSSPDCL shall have access to the supplier’s or his subcontractor’s work at any time during working hours for the purpose of inspecting the materials during manufacturing of the plant and equipment and testing and may select test samples from the materials going into plant and equipment. The supplier shall provide the facilities for testing such samples at any time.  As soon as the materials are ready the supplies shall duly send intimation to TSSPDCL by Registered Post and carry out the tests before the representatives of the TSSPDCL.

    - The TSSPDCL may at its option get the materials inspected by the third party if it feels necessary and all inspection charges in this connection shall be borne by the supplier.

    - The dispatches shall be affected only if the test results comply with the specification.  The dispatches shall be made only after the inspection by the TSSPDCL’s Officer is completed to the TSSPDCL’s satisfaction or such inspection is waived by this office.

  - PACKING:

    - The packing may be in accordance with the manufacturer’s standard practice, unless otherwise specified.  The supplier should however, ensure that the packing is such that equipment reaches the destination without damages after transport by Air, Sea, Rail and or Road.

    - The supplier, whenever dispatches materials to a destination should prepare the following information in the form of packing slip in quadruplicate and send same to the consignee and obtain his acknowledgement on the same.  The consignee will return to supplier one copy of packing slip with his remarks.  The proforma of packing slip shall be as follows:

PACKING SLIP:

1.	Purchase Order No.  & Date.

2.	Quantity allotted to the Stores and the rate applicable.

3.	Quantity so far supplied to the Stores and the rate applied.

4. 	Quantity now supplied and the rate applied.

5.	Total quantity supplied under the purchase order with rates applied.

6.	Programme for supplying the balance quantity to the Stores.

    - The supplier shall invariably send to the purchasing officer a copy of delivery challan whenever materials are dispatched.

  - GUARANTEE:

    - The successful tenderer shall guarantee among other things the following:

- Quantity and strength of material used.

- Safe electrical/mechanical stresses on all parts of the equipment under                  Specified conditions of operation.

- The material shall be guaranteed for satisfactory operation & performance for a period of at least one year (12 months) from the date of commissioning or cutting the materials into use or twelve months (12 months) from the date of receipt of stores in good conditions whichever is earlier.

    - If during the period of guarantee, any of the materials, equipments or plant are found defective and or fail in test or operation, such materials, equipment or plant shall be repaired or replaced by the tenderer free of cost to the TSSPDCL irrespective of the reimbursements from the insurance company within reasonable time which shall in no circumstance be more than 15 days or such other reasonable time as the TSSPDCL may deem proper to afford failing which the cost of the failed units as the TSSPDCL may deem proper to afford failing which the cost of the failed units will be deducted from the subsequent bills/Bank Guarantee.

  - NAME  PLATE

    - Equipment should be provided with name plate giving full details of manufacture, capacities and other details as specified in the relevant ISS or other specification stipulated.  The purchase order No. & date and year of supply and the words ‘TSSPDCL’ must be etched on the plate.

  - MATERIALS & WORKMANSHIP

    - All the material shall be of the best class and shall be capable of satisfactory operation in the tropics under service conditions indicated in clause 1.9.1 without distortion or deterioration.  No welding, facilling or plugging of defective parts shall be permitted, unless otherwise specified, they shall conform to the requirements of the appropriate Indian, British or American Standards, (where a standard specification covering the material in question has not been published, the standards of the American Society for testing of Materials should be followed).

    - The entire designs and construction shall be capable of withstanding the severest stresses likely to occur in actual service and of resisting rough handling during transport.

1.26	      INSTRUCTION BOOK-LETS: OPERATIONS & MAINTENANCE MANUALS:

    - Manuals shall be supplied along with equipment in 6 sets.  One set of reproducible drawings shall also be supplied.

  - JURISDICTION:

    - All and any disputes or differences arising out of touching this order against this specification shall be decided only by the Courts or Tribunals situated in Hyderabad/Secunderabad Cities.  No suit or other legal proceedings shall be instituted elsewhere.

SECTION –II

F I N A N C I A L

  - PRICES:

    - FIRM PRICES: Where prices are quoted on firm basis the quotations should be F.O.R. Destination/FADS price inclusive of E.D., and other legally permission duties and levies wherever applicable, handling charges and insurance to cover the transport by road from destination railway station before taking into stock after site/stores and storage for 30 days by 45 days thereafter.

    - Even though composite Firm price is quoted, the breakup for all the duties, taxes, freight, insurance, etc., shall be furnished.

    - It is the responsibility of the tenderer to inform himself of the correct rates of duties and taxes leviable on the materials at the time of tendering.

    - If the rates of statutory levies assumed by the tenderer are less than the correct rates prevailing at the time of tendering the TSSPDCL will not be responsible for such errors.  If the rates of statutory levies assumed by the tenderer are later proved to be higher than the actual/ correct rates prevailing at the time of tendering, the difference shall be passed on to the credit of the TSSPDCL.

    - The proforma credit available to the supplier on the purchase of inputs (raw materials) consequent to the introduction of ‘MODVAT’ Scheme may be taken into account while quoting the prices.

2.2	STATUTORY VARIATION:

    - Any variation up or down in statutory levy introduced after opening of the tender/after placing of the order under this specification shall be to the account of the TSSPDCL provided that in cases where delivery schedule is not adhered to by the tenderer and there are upward variation/revision after the agreed delivery date, the tenderer/ supplier shall bear the impact of such levies and if there is down ward variation/revision the TSSPDCL shall be given credit to that extent. This is allowed only once during delivery period i.e, at the time of delivery of goods at factory.

  - INSURANCE:

    - Insurance shall be the responsibility of the tenderer as F.O.R. Destination / FADS rates are called for.  The insurance should include the transport by Road from destination Railway Station before taking into stock after site/stores and storage for 30 days by 45 days thereafter.  Where a policy is taken it should contain a provision for extension to cover further storage and the insurance beneficiary shall be TSTRANSCO/TSSPDCL’s after at the purchasers cost.

  - FOREIGN EXCHANGE & IMPORT LICENCE

    - No foreign exchange is available or expected for this purchase.  Offers which do not require release of F.E. or procurement of import license by this TSSPDCL only will be considered.  Where some of the components are to be imported the manufacturers will have to make their own arrangements for import license etc., and should not look for any assistance from the TSSPDCL.  They should invariably furnish the CIF value of imported components with country of import.  If the import involves from different countries break-up of CIF values should be given clearly.  Exchange rates and customs duties adopted shall also be indicated in the tender.

  - ROYALITIES FOR PATENTS:

    - All royalties for patents or charges for the use or infringement thereof that may be involved in the construction or use of any equipment shall be included in the tendered price.  The tenderers shall protect the TSSPDCL against any and all claims arising on account of the use thereof, the TSSPDCL agreeing to furnish the tenderer any appropriate information or assistance.

  - PERFORMANCE SECURITY DEPOSIT:

    - The successful bidder/bidders will submit security for proper fulfillment of the contract and such security will be for an amount of 10% (ten percent) of the contract value.

    - This performance security will be furnished within 15 days of receipt of the notification of contract award and should cover a period of 60 days beyond the warranty period.  Failure to comply with this stipulation will entail canceling of the contract besides forfeiture of the bid security.

    - The performance security will be in the form of a banker’s cheque, crossed Demand Draft or Pay Order payable at the headquarters of the purchaser and drawn in favour of the purchaser on any scheduled bank or an individual Bank Guarantee.

    - The purchaser will discharge the performance security after completion of the contract and within 60 days of the expiry of the warranty.

    - No exemption will be permitted in case of payment of performance security.

2.7	TERMS OF PAYMENT:

    - 100% payment will be made on or after 30 days of the date of receipt of goods in good condition duly certified by the consignee or after approval of the test certificate whichever is later.

    - The 100% payment mentioned in clause 2.7.1 is subject to the condition that the tenderer furnish in advance an approved Bank Guarantee (as per proforma enclosed) to the extent of 10% of the contract price covering a period of 6 months over and above the period of performance guarantee against defective supplies etc.

    - The supplier should invariably submit test certificates as soon as dispatch is made so that the test certificates to be checked up and approved well before it becomes due for payment.

    - The performance guarantee to be executed in accordance with specification shall be furnished on a stamp paper of value of Rs. 100/-.  The Bank guarantee shall be extended suitably in case the equipment/material is found defective within guarantee period.  The defective portion or whose of the equipment/material so replaced or renewed should give satisfactory performance till the expiry of 6 months from the date of such replacement/renewal of until the end of guarantee period whichever is later.

    - Payment for the materials supplied will be made by cheque on any scheduled bank at the Headquarters of the paying officer.

    - If the contractor has received any over payments by mistake or if any amounts are due to the TSSPDCL due to any other reason.  When it is not possible to recover such amounts under the contract resulting out of this specification, the TSSPDCL reserves the right to collect the same from any other amounts and/or Bank Guarantees given by the company due to or with the TSSPDCL.

    - When the supplier does not at any time, fulfill his obligations in replacing/rectifying etc., of the damaged/defective materials in part of whole promptly to the satisfaction of the TSSPDCL’s Officers, the TSSPDCL reserves the right not to accept the bills against subsequent dispatches made by the supplier and only the supplier will be responsible for any demurrages, wharf ages or damage occurring to consignment so dispatched.

  - CURRENCY OF PAYMENT:

    - All payments will be made in non-convertible Indian Rupees.

  - RESPONSIBILITY OF THE TENDERER FOR LOSS/DAMAGE:

    - The tenderer is responsible for the safe delivery of the goods in good condition at the destination.  He should acquaint himself of the conditions obtaining for handling and transport of the goods to destination and shall include and provide for security and protective packing of the goods so as to avoid damage in transit.

    - External damages or shortages that are prima-facie the result of rough handling in transit or due to defective packing will be intimated within a fortnight of the receipt of the materials.  Internal defects, damages or shortages of any integral parts which cannot ordinarily be detected on a superficial visual examination though due to bad handling in transit or defective packing will be intimated within 2 months from the date of receipt of the material.  In either case the defective or damaged materials should be replaced by the supplier free of cost to the TSSPDCL.  If no steps are taken within 15 days of receipt of intimation of defects or such other reasonable time as the TSSPDCL may deem proper to afford, the TSSPDCL may without prejudice to its other rights and remedies cause to be repaired or rectified the defective material or replace the same and recover the expenditure incurred therefore from the deposit such as Earnest Money.  Security and performance or other monies available with the TSSPDCL or by resorting to legal action.

    - For the purpose of any legal construction, the materials shall be deemed to pass into TSSPDCL’s ownership only at the final destination where they are delivered and accepted.

  - PENALTY FOR LATE DELIVERY

    - Failure of the supplier to deliver the goods within the stipulated period set out in the contract will attract Penalty @ 0.5% per week of delay on the value of the undelivered portion, subject to a maximum of 5% of the cost of the undelivered portion within the schedule time.  If the period of delay exceeds the specified maximum, the purchaser may consider termination of the contract.

    - For penalty, the number of days of delay would be rounded off to the nearest week and interest calculated accordingly.

    - Materials equipment which is not of acceptable quality or not specifications would be deemed to be not delivered.

    - The penalty specified in clause 2.10.1 shall be levied and would be adjusted against bills to be rendered by the supplier.

  - FORCE MAJEURE:

    - The Supplier will not be liable for delay or for failing to supply the material/equipment for reasons for ‘Force Majeure’ such as acts of God, acts of public enemy, acts of Government, fires, floods, strikes, lockouts, etc., and strikes in manufacturers of proprietary items as specified by the TSSPDCL.

    - The Supplier shall within 10 days from the beginning of such delay notify to the TSSPDCL in writing the cause of delay.  The TSSPDCL shall verify the facts and grant such extension of time as facts justify.

    - No price variation shall be allowed during the period of force majeure and penalty would not be levied for this period.

  - RISK PURCHASE:

      - In case of supplier who has not adhered to the delivery schedule the TSSPDCL reserves the right to purchase the balance quantities from the open market/floating another tender and recover the extra expenditure thus incurred from the supplier.  This is in addition to the rights of the TSSPDCL mentioned in the specification.

Section–III

TECHNICAL

3.1 	Description of Material: Supply of 11 KV 400 A DB AB Switch moving contact

3.2	 STANDARDS:

All materials & equipment’s shall comply with the requirements of the latest edition of the respective Indian Standard (if case Indian standard not available, mention the relevant standard and enclose a copy of standard duly explaining the details).

3.3 	DEVIATION:

Normally the offer should be as per technical specification without any deviation.

3.4	 If any modification felt necessary to improve performance, efficiency and utility of equipment/Material the same must be mentioned in the Modification schedule’ with reasons duly supported by documentary evidences and advantages, such modifications suggested may or may not be accepted, but the same must be submitted along with bid . The modifications not mentioned in schedule will not be considered.

3.5		 Full technical particulars along with descriptive literature should accompany the Tender.

3.6	Test Requirements:  Technical specification enclosed.

3.7 	Sample: The sample should be submitted along with the tender, failing which the tender will not be considered

3.8 	Testing of Samples:  The eligible bidders will be addressed for testing of samples submitted by them at the cost of bidder, if required.

3.9 	Technical Specification of Supply of 11 KV 400 A DB AB Switch moving contact

3.2(b)

11kV 400 a double break moving contact for conventional AB switch of size

32 x 6 x810 mm HDEC Flat

3.3 (a) BID Qualifying Requirements:

- The bidder should be manufacturer OR Authorized dealer from the respective manufacturer for the tendered item.

- Manufacturer should have ISO 9001 Certification to meet the quality manufacturing process.

- Manufacturing set up should be in INDIA for meeting post-supply/warranty requirements.

- The bidder either manufacturer or their authorized dealer, should have designed the product, manufactured, tested for engineered parameters and supplied or demonstrated the bid item/s in TSSPDCL / Power utilities / DISCOMS / Govt. Departments.

- A satisfactory performance certificate from TSSPDCL / DISCOMS for the tendered item/s should be submitted along with bid for qualifying in tender.

- The bidder must have experience in supplies of similar kind of insulation enhancement products to prevent faults such as vegetation contact, bird faults, contamination flash overs, animal faults in and for substation equipment or overhead lines in TSSPDCL / DISCOMS will be added qualifying parameter for tender. Few purchase order copies should be enclosed with tender towards proof.

3.4 Production of Sample at the time of bidding: 11KV 800A Fixed Contact DB AB Switch-Pipe sample to be submitted along with tender and it should be in line with the technical specification.

PRICE/SCHEDULE OF MATERIAL.

| Sl. No. | Description of the Material | Qty. Required | TSSPDCL Delivery Schedule | Quantity offered by the Bidder | Whether Rate is firm or Variable | Free Destination District Stores, Wanaparthy. |  | GST | Any other tax/ duties (Specify) | Unit Price | Dis- Count If any | Total Price (Rs.) | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Ex-Works price per unit | Packing & Forwar-ding Freight and Insurance |  |  |  |  |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 |
| 1. | Supply of 11 KV 400 A DB AB Switch moving contact |  | 30 days |  |  |  |  |  |  |  |  |  |  |

N O T E:

- Prices should be firm, if prices are mentioned Inclusive of GST and all taxes and duties, percentage of Taxes & duties applicable shall clearly be mentioned.

- The Firm should enclose a copy of GST Registration, otherwise the bid will be treated as invalid.

- Full technical particulars along with descriptive literature should accompany the Tender.

- Clear acceptation of Security Deposit, Penalty clause, TSSPDCL terms of payment.  Guarantee clause, Validity should be furnished in the Tender.

- Delivery period within 30 days from the date of receipt of purchase order.

- The material supplied along with workmanship shall be guaranteed for a period of 12 months from the date of receipt of acceptance of material in stores.

- Sample shall accompany the tender.

- Payment of 2% Bid Security is must for all the tenders for each tender otherwise the bid will be rejected without any correspondence.  This is applicable for registered vendors, PBS holders & SSI manufacturing units also.

Superintending Engineer,

Operation,TSSPDCL,Gadwal.

Signature of the Bidder